## Par
Pot_Location | Air | Water | Handheld_Air
1 | 237.4 | 202.4 | 222.734
2 | 193.62 | 168.4 | 225.739
3 | 447.6 | 350.6 | 368.881
4 | 483.5 | 301.5 | 407.548
5 | 385.2 | 300.7 | 366.801
6 | 371.2 | 274.1 | 369.31
7 | 213 | 122.42 | 295.974
8 | 246.6 | 207.2 | 293.846
9 | 409.5 | 325 | 334.329
10 | 466.1 | 331.9 | 354.52
11 | 437 | 347.8 | 396.147
12 | 392.8 | 313 | 394.91
13 | 96.5 | 46.7 | 182.149
14 | 93.12 | 92.65 | 156.298
15 | 213 | 201 | 185.278
16 | 189.98 | 151.8 | 177.35
17 | 456.7 | 368.7 | 260.102
18 | 459.5 | 378.7 | 283.972
19 | 241.3 | 210 | 283.281
20 | 174.7 | 161.6 | 256.639
Grey_Side | 43.8

## Lightfield
Figure 1
Map with heat map using PAR from pot-level measurements (in water)
Green values = high + well over 200, yellow values = around 200, red values = lower than ideal PAR (<100)
2 | 4 | 6 | 8 | 10 | 12 | 14
168.4 | 301.5 | 274.1 | 207.2 | 331.9 | 313 | 92.65
202.4 | 350.6 | 300.7 | 122.42 | 325 | 347.8 | 46.7
1 | 3 | 5 | 7 | 9 | 11 | 13
DOOR
|  |  |  | 19 | 17 | 15
|  |  | Grey extra tank | 210 | 368.7 | 201
|  |  |  | 161.6 | 378.7 | 151.8
|  |  |  | 20 | 18 | 16

## Metadata
Sheet | Column | Unit | What am I? | Notes
Par | Pot_Location | NA | Location of the pots in the wetlab orientation (see guide in notes) | Aerial view of wetlab: location map
Par | Air | µmol photons m-2 s-1 | Par measured at water surface of bucket (dry), calculated with air calibration multiplier | Back of Room
Par | Water | µmol photons m-2 s-2 | Par measured at pot height (wet), calculated with water calibration multiplier | 2 | 4 | 6 | 8 | 10 | 12 | 14
Par | Handheld_Air | µmol photons m-2 s-3 | Par measured 1-2 cm above the water surface with handheld bluetooth par meter (Katie's) | 1 | 3 | 5 | 7 | 9 | 11 | 13
Lightfield | Figure 1 | NA | Diagram of mesocosm layout (like in notes), but colored with a heatmap of PAR at seagrass level
|  |  |  | Grow lights are hanging ___ high at the cross-sections of _______ | [5 empty] | DOOR
[7 empty] | Grey extra tank | 19 | 17 | 15
[8 empty] | 20 | 18 | 16